## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10065924 | https://doi.org/10.1109/ITHERM.2018.8419503 | Flow Analysis and Linearization of Rectangular Butterfly Valve Flow Control Device for Liquid Cooling | Kasukurthy, R; Challa, P; Palanikumar, R; Manimaran, B; Agonafer, D |  |  | 2018-07-27T04:00:00Z | 2018 17th IEEE Intersociety Conference on Thermal and Thermomechanical Phenomena in Electronic Systems (ITherm) | [5 empty] | One of the key areas in which electronic cooling research has been focusing on, is addressing the issue of non-uniform at package level. This challenge has incited the use of numerous temperature sensing mechanisms for dynamic cooling of electronic components. What dynamic liquid cooling effectively does is, use feedback from sensors as inputs for the pumps, supplying more amounts of fluid to parts of the electronics that is warmer while supplying minimal fluid to the parts of the electronics that are relatively cooler. A novel approach to address uneven heating in a liquid cooled system is the use of a temperature sensing flow control device that can control flow rate based on temperature. The necessity of numerous temperature and pressure sensors, a suitable control system and the maintenance and reliability issues that they present, can be significantly minimized with the use of a self sensing and controlling flow control device. This paper looks at the flow analysis of a self-regulating flow control device (FCD) designed for electronic module for data center application. An axially rotating butterfly valve is used to regulate the flow rate of FCD. Linearization of the flow with respect to damper angle is studied by modifying the dimensional ratios of the rectangular cross section of the FCD. Pressure drop, and flow rate characterization is done for the FCD. | National Science Foundation | 1738811 |  | 2018 |  |  |  | Conference Paper