## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10085288 | https://doi.org/10.5194/amt-11-6059-2018 | Testing and evaluation of a new airborne system for continuous N&lt;sub&gt;2&lt;/sub&gt;O, CO&lt;sub&gt;2&lt;/sub&gt;, CO, and H&lt;sub&gt;2&lt;/sub&gt;O measurements: the Frequent Calibration High-performance Airborne Observation System (FCHAOS) | Gvakharia, Alexander; Kort, Eric A.; Smith, Mackenzie L.; Conley, Stephen |  |  | 2018-01-01T05:00:00Z | Atmospheric Measurement Techniques | 11 | 11 | 6059 to 6074 | 1867-8548 |  | <p><strong>Abstract.</strong> We present the development and assessment of a new flight system that uses acommercially available continuous-wave, tunable infrared laser directabsorption spectrometer to measure <span class="inline-formula">N<sub>2</sub>O</span>, <span class="inline-formula">CO<sub>2</sub></span>, CO, and<span class="inline-formula">H<sub>2</sub>O</span>. When the commercial system is operated in an off-the-shelfmanner, we find a clear cabin pressure–altitude dependency for<span class="inline-formula">N<sub>2</sub>O</span>, <span class="inline-formula">CO<sub>2</sub></span>, and CO. The characteristics of this artifactmake it difficult to reconcile with conventional calibration methods. Wepresent a novel procedure that extends upon traditional calibrationapproaches in a high-flow system with high-frequency, short-duration samplingof a known calibration gas of near-ambient concentration. This approachcorrects for cabin pressure dependency as well as other sources of drift inthe analyzer while maintaining a <span class="inline-formula">∼90</span><span class="thinspace"></span>% duty cycle for 1<span class="thinspace"></span>Hz sampling.Assessment and validation of the flight system with both extensive in-flightcalibrations and comparisons with other flight-proven sensors demonstrate thevalidity of this method. In-flight 1<span class="inline-formula"><i>σ</i></span> precision is estimated at0.05<span class="thinspace"></span>ppb, 0.10<span class="thinspace"></span>ppm, 1.00<span class="thinspace"></span>ppb, and 10<span class="thinspace"></span>ppm for <span class="inline-formula">N<sub>2</sub>O</span>,<span class="inline-formula">CO<sub>2</sub></span>, CO, and <span class="inline-formula">H<sub>2</sub>O</span> respectively, and traceability to WorldMeteorological Organization (WMO) standards (1<span class="inline-formula"><i>σ</i></span>) is 0.28<span class="thinspace"></span>ppb,0.33<span class="thinspace"></span>ppm, and 1.92<span class="thinspace"></span>ppb for <span class="inline-formula">N<sub>2</sub>O</span>, <span class="inline-formula">CO<sub>2</sub></span>, and CO. We showthe system is capable of precise, accurate 1<span class="thinspace"></span>Hz airborne observations of<span class="inline-formula">N<sub>2</sub>O</span>, <span class="inline-formula">CO<sub>2</sub></span>, CO, and <span class="inline-formula">H<sub>2</sub>O</span> and highlight flightdata, illustrating the value of this analyzer for studying <span class="inline-formula">N<sub>2</sub>O</span>emissions on <span class="inline-formula">∼100</span><span class="thinspace"></span>km spatial scales.</p> | National Science Foundation | 1650682 |  | 2018 |  |  |  | Journal Article