## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10110326 |  | Non-intrusive interpretation of human thermal comfort through analysis of facial infrared thermography | Li, Da; Menassa, Carol. C; and Kamat, Vineet R. |  |  | 2018-01-01T05:00:00Z | Energy and buildings | 176 |  | 246-261 | 0378-7788 |  | Understanding occupants’ thermal sensation and comfort is essential to defining the operational settings for Heating, Ventilation and Air Conditioning (HVAC) systems in buildings. Due to the continuous impact of human and environmental factors, occupants’ thermal sensation and comfort level can change over time. Thus, to dynamically control the environment, thermal comfort should be monitored in real time. This paper presents a novel non-intrusive infrared thermography framework to estimate an occupant’s thermal comfort level by measuring skin temperature collected from different facial regions using low- cost thermal cameras. Unlike existing methods that rely on placing sensors directly on humans for skin temperature measurement, the proposed framework is able to detect the presence of occupants, extract facial regions, measure skin temperature features, and interpret thermal comfort conditions with minimal interruption of the building occupants. The method is validated by collecting thermal comfort data from a total of twelve subjects under cooling, heating and steady-state experiments. The results demonstrate that ears, nose and cheeks are most indicative of thermal comfort and the proposed framework can be used to assess occupants’ thermal comfort with an average accuracy of 85%. | National Science Foundation | 1804321 |  | 2018 |  |  |  | Journal Article