## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10163922 | https://doi.org/10.1364/OL.398060 | Mueller matrix ellipsometer using dual continuously rotating anisotropic mirrors | Ruder, Alexander (ORCID:0000000180238374); Wright, Brandon; Peev, Darin; Feder, Rene; Kilic, Ufuk; Hilfiker, Matthew; Schubert, Eva; Herzinger, Craig_M; Schubert, Mathias |  |  | 2020-06-24T04:00:00Z | Optics Letters | 45 | 13 |  | 0146-9592; OPLEDP |  | <p>We demonstrate calibration and operation of a single wavelength (660 nm) Mueller matrix ellipsometer in normal transmission configuration using dual continuously rotating anisotropic mirrors. The mirrors contain highly spatially coherent nanostructure slanted columnar titanium thin films deposited onto optically thick gold layers on glass substrates. Upon rotation around the mirror normal axis, sufficient modulation of the Stokes parameters of light reflected at oblique angle of incidence is achieved. Thereby, the mirrors can be used as a polarization state generator and polarization state analyzer in a generalized ellipsometry instrument. A Fourier expansion approach is found sufficient to render and calibrate the effects of the mirror rotations onto the polarized light train within the ellipsometer. The Mueller matrix elements of a set of anisotropic samples consisting of a linear polarizer and a linear retarder are measured and compared with model data, and very good agreement is observed.</p> | National Science Foundation | 1808715 |  | 2020 | Article No. 3541 |  |  | Journal Article | Optical Society of America