## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10231274 | https://doi.org/10.3390/s20143844 | Broadband Electrical Sensing of a Live Biological Cell with In Situ Single-Connection Calibration | Ma, Xiao; Du, Xiaotian; Li, Lei; Ladegard, Caroline; Cheng, Xuanhong; Hwang, James C. |  | null | 2020-07-01T04:00:00Z | Sensors | 20 | 14 | 3844 | 1424-8220 |  | Single-connection in situ calibration using biocompatible solutions is demonstrated in single-cell sensing from 0.5 to 9 GHz. The sensing is based on quickly trapping and releasing a live cell by dielectrophoresis on a coplanar transmission line with a little protrusion in one of its ground electrodes. The same transmission line is used as the calibration standard when covered by various solutions of known permittivities. The results show that the calibration technique may be precise enough to differentiate cells of different nucleus sizes, despite the measured difference being less than 0.01 dB in the deembedded scattering parameters. With better accuracy and throughput, the calibration technique may allow broadband electrical sensing of live cells in a high-throughput cytometer. | National Science Foundation | 1809623 |  | 2020 |  |  |  | Journal Article