## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10403153 | https://doi.org/10.1002/rcm.9501 | Ultra‐low current electrospray ionization of chloroform solution for the analysis of perfluorinated sulfonic acids | Wang, Taoqing [University of New Hampshire Durham NH USA]; Li, Huishan [University of New Hampshire Durham NH USA]; Allen, Nicholas [University of New Hampshire Durham NH USA]; Ferraro, Ian [University of New Hampshire Durham NH USA]; Li, Anyin [University of New Hampshire Durham NH USA] (ORCID:0000000302915688) |  |  | 2023-03-25T04:00:00Z | Rapid Communications in Mass Spectrometry | 37 | S1 |  | 0951-4198 |  | <sec><title>Rationale</title><p>Femtoamp and picoamp electrospray ionization (ESI) characteristics of a nonpolar solvent were explored. The direct ESI mass spectrometry analysis of chloroform extract solution enabled rapid analysis of perfluorinated sulfonic acid analytes in drinking water.</p></sec> <sec><title>Methods</title><p>Neat chloroform solvent and extracts were directly used in a typical wire‐in ESI setup using micrometer emitter tips. Ionization currents were measured with femtoamp sensitivity while ramping the spray voltage from 0 to −5000 V. Methanol was used as a comparison to illustrate the characteristics of electrospraying chloroform. The effects of spray voltage and inlet temperature were studied. A liquid–liquid extraction workflow was developed to analyze perfluorooctanoate sulfonate (PFOS) in drinking water using an ion‐trap mass spectrometer.</p></sec> <sec><title>Results</title><p>The ionization onset of chloroform solution was 41 ± 17 fA at 300 V. The ionization current gradually increased with voltage while remaining below 100 pA when using voltages up to −5000 V. The ion signal of PFOS was significantly enhanced to improve the limit of detection (LoD) to 25 ppt in chloroform. Coupled with a liquid–liquid extraction workflow, LoD of 0.38–5.1 ppt and a quantitation range of 5–400 ppt were achieved for perfluorinated sulfonic compounds in 1‐ml water samples.</p></sec> <sec><title>Conclusions</title><p>Femtoamp and picoamp modes expand the solvent compatibility range of ESI and can enable quantitative analysis in parts per trillion (ppt) concentrations.</p></sec> | National Science Foundation | 2203289 |  | 2023 |  |  |  | Journal Article | Wiley Blackwell (John Wiley & Sons)