## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10415707 | https://doi.org/10.1038/s41598-023-27425-6 | Unobtrusive occupancy and vital signs sensing for human building interactive systems | Song, Chenyan; Droitcour, Amy D.; Islam, Shekh M.; Whitworth, Avon; Lubecke, Victor M.; Boric-Lubecke, Olga |  |  | 2023-12-01T05:00:00Z | Scientific Reports | 13 | 1 |  | 2045-2322 |  | Abstract Cognitive buildings use data on how occupants respond to the built environment to proactively make occupant-centric adjustments to lighting, temperature, ventilation, and other environmental parameters. However, sensors that unobtrusively and ubiquitously measure occupant responses are lacking. Here we show that Doppler-radar based sensors, which can sense small physiological motions, provide accurate occupancy detection and estimation of vital signs in challenging, realistic circumstances. Occupancy was differentiated from an empty room over 93% of the time in a 3.4 m × 8.5 m conference room with a single sensor in both wall and ceiling-mounted configurations. Occupancy was successfully detected while an occupant was under the table, visibly blocked from the sensor, a scenario where infrared, ultrasound, and video-based occupancy sensors would fail. Heart and respiratory rates were detected in all seats in the conference room with a single ceiling-mounted sensor. The occupancy sensor can be used to control HVAC and lighting with a short, 1–2 min delay and to provide information for space utilization optimization. Heart and respiratory rate sensing could provide additional feedback to future human-building interactive systems that use vital signs to determine how occupant comfort and wellness is changing with time. | National Science Foundation | 1831303 |  | 2023 |  |  |  | Journal Article