## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10435987 | https://doi.org/10.1364/BOE.491406 | Flexible array transducer for photoacoustic-guided interventions: phantom and ex vivo demonstrations | Zhang, Jiaxin (ORCID:000900054514925X); Wiacek, Alycen (ORCID:0000000178731872); Feng, Ziwei; Ding, Kai; Lediju_Bell, Muyinatu_A (ORCID:0000000283944482) |  |  | 2023-07-28T04:00:00Z | Biomedical Optics Express | 14 | 8 |  | 2156-7085 |  | <p>Photoacoustic imaging has demonstrated recent promise for surgical guidance, enabling visualization of tool tips during surgical and non-surgical interventions. To receive photoacoustic signals, most conventional transducers are rigid, while a flexible array is able to deform and provide complete contact on surfaces with different geometries. In this work, we present photoacoustic images acquired with a flexible array transducer in multiple concave shapes in phantom and<italic>ex vivo</italic>bovine liver experiments targeted toward interventional photoacoustic applications. We validate our image reconstruction equations for known sensor geometries with simulated data, and we provide empirical elevation field-of-view, target position, and image quality measurements. The elevation field-of-view was 6.08 mm at a depth of 4 cm and greater than 13 mm at a depth of 5 cm. The target depth agreement with ground truth ranged 98.35-99.69%. The mean lateral and axial target sizes when imaging 600<italic>μ</italic>m-core-diameter optical fibers inserted within the phantoms ranged 0.98-2.14 mm and 1.61-2.24 mm, respectively. The mean ± one standard deviation of lateral and axial target sizes when surrounded by liver tissue were 1.80±0.48 mm and 2.17±0.24 mm, respectively. Contrast, signal-to-noise, and generalized contrast-to-noise ratios ranged 6.92–24.42 dB, 46.50–67.51 dB, and 0.76–1, respectively, within the elevational field-of-view. Results establish the feasibility of implementing photoacoustic-guided surgery with a flexible array transducer.</p> | National Science Foundation | 2014088; 1751522 |  | 2023 | Article No. 4349 |  |  | Journal Article | Optical Society of America