## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10446901 | https://doi.org/10.1038/s41467-023-40740-w | Infrared spectroscopic laser scanning confocal microscopy for whole-slide chemical imaging | Yeh, Kevin (ORCID:0000000270127483); Sharma, Ishaan (ORCID:0009000474985444); Falahkheirkhah, Kianoush (ORCID:0000000327812693); Confer, Matthew P. (ORCID:0000000208563583); Orr, Andres C.; Liu, Yen-Ting (ORCID:0000000257680516); Phal, Yamuna (ORCID:0000000226027012); Ho, Ruo-Jing; Mehta, Manu (ORCID:0009000484450806); Bhargava, Ankita; Mei, Wenyan; Cheng, Georgina (ORCID:0000000289996750); Cheville, John C.; Bhargava, Rohit (ORCID:000000017360994X) |  |  | 2023-08-25T04:00:00Z | Nature Communications | 14 | 1 |  | 2041-1723 |  | <title>Abstract</title> <p>Chemical imaging, especially mid-infrared spectroscopic microscopy, enables label-free biomedical analyses while achieving expansive molecular sensitivity. However, its slow speed and poor image quality impede widespread adoption. We present a microscope that provides high-throughput recording, low noise, and high spatial resolution where the bottom-up design of its optical train facilitates dual-axis galvo laser scanning of a diffraction-limited focal point over large areas using custom, compound, infinity-corrected refractive objectives. We demonstrate whole-slide, speckle-free imaging in ~3 min per discrete wavelength at 10× magnification (2 μm/pixel) and high-resolution capability with its 20× counterpart (1 μm/pixel), both offering spatial quality at theoretical limits while maintaining high signal-to-noise ratios (>100:1). The data quality enables applications of modern machine learning and capabilities not previously feasible – 3D reconstructions using serial sections, comprehensive assessments of whole model organisms, and histological assessments of disease in time comparable to clinical workflows. Distinct from conventional approaches that focus on morphological investigations or immunostaining techniques, this development makes label-free imaging of minimally processed tissue practical.</p> | National Science Foundation | 2153032; 2205819 |  | 2023 |  |  |  | Journal Article | Nature Publishing Group