## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10451645 | https://doi.org/10.1115/1.4063012 | Evaluation of Power Transmission Lines Hardening Scenarios Using a Machine Learning Approach | Montoya-Rincon, Juan P.; Gonzalez-Cruz, Jorge E.; Jensen, Michael P. |  |  | 2023-09-01T04:00:00Z | ASCE-ASME Journal of Risk and Uncertainty in Engineering Systems, Part B: Mechanical Engineering | 9 | 3 |  | 2332-9017 |  | Abstract The power transmission infrastructure is vulnerable to extreme weather events, particularly hurricanes and tropical storms. A recent example is the damage caused by Hurricane Maria (H-Maria) in the archipelago of Puerto Rico in September 2017, where major failures in the transmission infrastructure led to a total blackout. Numerous studies have been conducted to examine strategies to strengthen the transmission system, including burying the power lines underground or increasing the frequency of tree trimming. However, few studies focus on the direct hardening of the transmission towers to accomplish an increase in resiliency. This machine learning-based study fills this need by analyzing three direct hardening scenarios and determining the effectiveness of these changes in the context of H-Maria. A methodology for estimating transmission tower damage is presented here as well as an analysis of impact of replacing structures with a high failure rate with more resilient ones. We found the steel self-support-pole to be the best replacement option for the towers with high failure rate. Furthermore, the third hardening scenario, where all wooden poles were replaced, exhibited a maximum reduction in damaged towers in a single line of 66% while lowering the mean number of damaged towers per line by 10%. | National Science Foundation | 2317990 |  | 2023 |  |  |  | Journal Article