## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10452042 | https://doi.org/10.1002/jsp2.1138 | Spine biomechanical testing methodologies: The controversy of consensus vs scientific evidence | Costi, John J. [Biomechanics and Implants Research Group, Medical Device Research Institute, College of Science and Engineering Flinders University Adelaide Australia] (ORCID:0000000282677837); Ledet, Eric H. [Department of Biomedical Engineering Rensselaer Polytechnic Institute Troy New York USA, Research and Development Service Stratton VA Medical Center Albany New York USA]; O'Connell, Grace D. [Department of Mechanical Engineering University of California‐Berkeley Berkeley California USA, Department of Orthopaedic Surgery University of California‐San Francisco San Francisco California USA] (ORCID:0000000307461638) |  |  | 2021-01-05T05:00:00Z | JOR SPINE | 4 | 1 |  | 2572-1143 |  | <title>Abstract</title> <p>Biomechanical testing methodologies for the spine have developed over the past 50 years. During that time, there have been several paradigm shifts with respect to techniques. These techniques evolved by incorporating state‐of‐the‐art engineering principles, in vivo measurements, anatomical structure‐function relationships, and the scientific method. Multiple parametric studies have focused on the effects that the experimental technique has on outcomes. As a result, testing methodologies have evolved, but there are no standard testing protocols, which makes the comparison of findings between experiments difficult and conclusions about in vivo performance challenging. In 2019, the international spine research community was surveyed to determine the consensus on spine biomechanical testing and if the consensus opinion was consistent with the scientific evidence. More than 80 responses to the survey were received. The findings of this survey confirmed that while some methods have been commonly adopted, not all are consistent with the scientific evidence. This review summarizes the scientific literature, the current consensus, and the authors' recommendations on best practices based on the compendium of available evidence.</p> | National Science Foundation | 1751212 |  | 2021 |  |  |  | Journal Article | Wiley Blackwell (John Wiley & Sons)