## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10571248 | https://doi.org/10.1002/rcm.10002 | A Laser Ablation ICP‐MS Protocol for High‐Resolution Iodine‐to‐Calcium Ratio (I/Ca) Analysis on Corals | Prow‐Fleischer, Ashley N. [Department of Earth and Environmental Sciences Syracuse University Syracuse New York USA] (ORCID:0000000333712453); Lu, Zunli [Department of Earth and Environmental Sciences Syracuse University Syracuse New York USA] |  |  | 2025-02-09T05:00:00Z | Rapid Communications in Mass Spectrometry | 39 | 9 |  | 0951-4198 |  | <title>ABSTRACT</title> <sec><title>Rationale</title><p>Corals are continuous, time‐resolved archives of ambient seawater geochemistry and can extend climate records beyond direct monitoring. The iodine‐to‐calcium (I/Ca) ratio may be a proxy for local oxygen depletion in corals, but the current solution‐based ICP‐MS protocol limits sampling resolution. A protocol was developed for rapid analysis of coral I/Ca using laser ablation ICP‐MS.</p></sec> <sec><title>Methods</title><p>Two reference materials, a powdered coral (JCp‐1) and a synthetic carbonate (MACS‐3), were compared for precision in measuring Sr, Mg, I, Ba, and U. Then, the influence of laser parameters (spot size, fluence, repetition rate, and scan speed) on iodine sensitivity from the reference material was evaluated to optimize laser settings for accurate and reproducible I/Ca calibration. Then, I/Ca was measured in line scans along and across the ambulacrum in a<styled-content style='fixed-case'><italic>Diploria labyrinthiformis</italic></styled-content>coral.</p></sec> <sec><title>Results</title><p>We find that JCp‐1 has greater precision in measuring iodine, as well as other traces, compared to MACS‐3. At a 10 Hz repetition rate, spot sizes from 150 to 85 μm obtained concentrations in agreement with certified values, but higher repetition rates overestimated iodine concentrations from JCp‐1. Certain scan speeds and fluence can introduce noise, likely due to matrix effects, but the signal‐to‐noise ratio can be improved by adjacent‐average filtering. Using this simple data filtering routine and optimized laser settings, the highest resolution for accurate I/Ca analysis is < 100 μm. While the fine‐scale (< 250 μm) I/Ca variabilities in parallel transects in a coral sample likely resulted from biomineralization processes, large ‐scale features (> 500 μm) along the ambulacrum tend to correlate.</p></sec> <sec><title>Conclusions</title><p>LA‐ICP‐MS has great potential for accurate, high‐resolution I/Ca profiling in corals using JCp‐1 as a calibration standard. Because of compositional variability near centers of calcification, it is important to pay attention to how the laser transect is aligned relative to skeletal elements, which may incorporate iodine differently.</p></sec> | National Science Foundation | 2121445 |  | 2025 |  |  |  | Journal Article | Wiley Blackwell (John Wiley & Sons)