## metadata
PAR ID | DOI | Title | Creator/Author | Corporate Author | Editor | Publication Date | Journal Name | Journal Volume | Journal Issue | Page Range or eLocation | ISSN | ISBN | Description/Abstract | Sponsoring Org. | Award IDs | Subject | Publication Year | Size | Format | Version | Resource Type | Publisher | Location | Rights | Institution
10654575 | https://doi.org/10.1115/FEDSM2025-158696 | An Experimental Study of Turbulence Transition Thresholds in Physiologically Relevant Helical Flows | Chowdhury, Sifat Karim; Zhang, Yan |  |  | 2025-07-27T04:00:00Z | [6 empty] | <title>Abstract</title> <p>Helical blood flow, characterized by its spiral motion, is a crucial physiological phenomenon observed in various circulatory structures, including the heart, aorta, vessel bifurcations, umbilical cord, and respiratory system. Despite its importance, a comprehensive understanding of helical flow dynamics is limited. This study aims to investigate the transition from laminar to turbulent flow in helical tubes under both steady and pulsatile conditions. An experimental setup was developed, featuring a closed-loop system with a pulsatile flow generator and steady pump, producing sinusoidal waveforms with adjustable frequencies and amplitudes. Five helical tube models, varying in curvature radius and torsion, were fabricated with a fixed inner diameter of 15 mm. High-frequency pressure transducers, ultrasonic flow sensors, and Laser Doppler Velocimetry (LDV) were employed to visualize flow fields and measure turbulence kinetic energy (TKE). Results indicate that helical tube geometry significantly impacts turbulence transitions. Specifically, larger curvature radii stabilize the flow and reduce turbulence downstream, while smaller radii lead to earlier transitions to turbulence. Under steady flow conditions, the critical Reynolds number (Re) for turbulence onset was found to be around 2300 upstream, similar to straight pipes, but significantly higher turbulence levels were observed downstream. Pulsatile flow with high pulsatility indices (PI &gt; 3) near transitional Re markedly increases turbulence, particularly downstream, with large bursts of turbulence occurring during the deceleration phase. These findings enhance the understanding of helical flow dynamics and have implications for biomedical device design, diagnostics, and treatments for circulatory disorders.</p> | National Science Foundation | 2342517 |  | 2025 |  |  |  | Conference Paper | American Society of Mechanical Engineers